How could I use this template to build test templates for other relays

Here's the practical workflow — three options depending on whether Claude/an LLM is available, and how hands-on you want to be:

Option A — Hand it to me (or any LLM) to generate (recommended, fastest)

For each new relay you need a test pack for:

- Open a fresh Claude conversation (Cowork, Claude.ai, whatever).

- Upload three files to that conversation:

  - The Specification document (Protection_Relay_Test_Documentation_Specification.docx)

  - A filled-in copy of the Onboarding Form (e.g. Onboarding_SEL-411L.xlsx)

  - One of the existing pairs as a worked example — recommend the closest match. For a line/feeder relay use the SEL-311L pair; for a generator relay use the SEL-300G pair.

- Use a prompt along these lines:

"I need a check sheet (.docx) and live results template (.xlsx) for an SEL-411L line protection relay, following our standard pattern. The attached Specification document defines the structure. The attached Onboarding Form has the SEL-411L-specific parameters filled in. The attached SEL-311L pair is a worked example of the same pattern applied to a similar line relay. Please generate the SEL-411L pair using the same structure and formula architecture, customised with the parameters from the Onboarding Form."

- Review the output, ask for tweaks if anything's not right. Common follow-ups: "make section 4 use these specific terminal labels instead", "the element tracker is missing 50G, add it", "the binary output for OUT103 should be 'POTT TX' not 'Reclose'".

This typically takes 10–15 minutes end-to-end including review.

Option B — Manual creation by copy-and-edit (no LLM needed)

If you ever need to do this without me:

- Copy the existing relay pair that's closest to your new relay (SEL-311L_Test_Check_Sheet.docx and SEL-311L_Test_Results_Template.xlsx).

- Rename both files for the new relay.

- Open both alongside the Specification and the filled-in Onboarding Form.

- Edit the documents section by section, working through Section 6 of the Spec ("What Varies Per Relay"):

  - Replace title, header text, subtitle

  - Update Relay Under Test ratios in section 1.3

  - Rewrite section 4 sub-sections to match the new relay's analogue inputs

  - Replace the element list in section 6.3

  - Update binary I/O default function labels in section 5

  - Add/remove relay-specific safety + restoration checks

- In the xlsx, update the same items plus the defined ratio names on the Cover sheet — make sure the formulas in section 4 still reference the right ratio names.

This takes 1–2 hours per relay if you're familiar with the structure.

Option C — Best of both: LLM draft, manual refine

Get the LLM-generated first draft from Option A, then open it in Word/Excel and refine any details the LLM got wrong. This is what I'd recommend for the first few you do — you'll quickly learn which prompts work and what to expect.

Tips that make Option A work well

- Pre-fill the onboarding form as much as you can. Vague answers ("a few CT inputs") give vague results. Specific answers ("3 CT inputs labelled IAW/IBW/ICW, ratio default 600:1") give precise results.

- Always share the worked example. Don't just hand over the spec — the SEL-300G or SEL-311L pair shows the LLM exactly what good output looks like.

- Share the Functional Description / Protection Report for one example site. Tells the LLM what's actually enabled and how it's mapped, much more useful than the relay manual.

- Ask for the build to be parameterised. If you'll generate several relays of the same family (e.g. multiple feeder relays), say "make this generic enough that I can swap in different model numbers" — the LLM can produce a more reusable starting point.

- Specify the units you want explicitly. "Express primary VT in kV not V", "use 1A CT secondary not 5A" — the LLM defaults to common values which might not match your site.

- Run a sanity check on the xlsx before issuing. Type a couple of test values into section 4 and confirm the auto pass/fail fires correctly. It's the easiest way to spot a formula reference error.

A note on tool access

Right now you're using Claude in Cowork which has file access. Any future LLM session you use needs:

- File upload capability (to receive the spec, form and worked example)

- Ability to produce .docx and .xlsx files (Cowork can; the basic Claude.ai web chat usually can too)

- Optionally, an environment to validate the files (Cowork has this, plain web chat doesn't — so if you use web chat, just open the files in Word/Excel yourself to verify).

For the heavy lifting, Cowork or Claude Code on the desktop will give you the cleanest experience because they can validate the file structure programmatically. The web chat works too, just less robust.

Want me to walk through a worked example right now? Tell me a relay model you'd like to onboard (e.g. SEL-487E for transformer protection, SEL-451 for breaker control, SEL-700G for generator, or whatever), and I'll fill in a starter onboarding form for it as a demonstration — gives you a template to iterate from.